## Compliance
reference | description | type | requirement | S1 | S2
C1 | MEDC Grade C Certification | chk | req | Yes | Yes
C2 | Number of years building substations | num | req | 8 | 4
C3 | Cable brand name | txt | req | Nuhas | Super Cables
C4 | Payment Terms | txt | req | 10% advance against bank guarantee, 40% material on site, 45% monthly progress invoicing (60 days from invoice submition), 5% retention | 50% Advance, 50% After completion of work
C5 | Other information | txt | opt | Price valid for 20 days. Price is based on a lump sum contract and based on the current design (tender drawings). Any deviations from the tender design will have a price impact which will be settled through a separate variation.

## Breakdown
[5 empty] | Supplier 1 |  | Supplier 2
reference | description | scope | quantity | units | unit rate | amount
A | Scope A | req
1 | Installation of 11KV SF6 Extendable Ring Main Unit | req | 6 | Nos. | 0.79731 | 4.7839 | 5.4207 | 4.322
2 | Installation of 2000KVA, 11/0.433KV, Cast Resin Dry Type Transformer | req | 6 | Nos. | 0.84149 | 5.049 | 0.73255 | 0.61644
3 | Cable Laying - 11kV , 3CX240 Sqmm Cable. | req | 30 | Mtrs | 0.11813 | 3.5438 | 1.3915 | 0.16437
4 | Cable Laying - 11kV , 3CX120 Sqmm Cable. | req | 200 | Mtrs | 0.42167 | 84.3334 | 2.158 | 0.90996
5 | Supply of Gland, Lug & Termination Kit and Termination of 11kV 3CX240 Sqmm Cable | opt | 10 | Nos. | 0.17516 | 1.7516 |  | 0
6 | Supply of Gland, Lug & Termination Kit and Termination of 11kV 3CX120 Sqmm Cable | opt | 12 | Nos. | 0.85793 | 10.2952 |  | 0
7 | MEDC Coordination, follow up and approval for all Substation Related Layouts. | req | 1 | Nos. | 0.90901 | 0.90901 | 0.42167 | 0.3833
8 | MEDC Coordination and follow up for shutdown approvals & Inspections until final completion of the project. | req | 1 | Nos. | 0.58237 | 0.58237 | 4.3648 | 2.5419
B | Scope B | opt
9 | Testing and Commissioning of all RMUs, Transformers and Earth Pits | req | 12 | Nos. | 1.6176 | 19.411 |  | 0
10 | GIS Drawing preparation, submission & approval, final Inspection and handing over of Substation works | req | 1 | Nos. | 1.767 | 1.767 |  | 0
11 | Supply of 11kV , 3CX240 Sqmm Cable ( Nuhas Oman ) | opt | 30 | Mtrs | 5.4207 | 162.6216 |  | 0
12 | Supply of 11kV , 3CX120 Sqmm Cable ( Nuhas Oman ) | opt | 200 | Mtrs | 0.73255 | 146.5099 |  | 0
13 | Installation, Testing and Commissioning of Ring Switch. | req | 1 | Nos. | 1.3915 | 1.3915 |  | 0
14 | Supply & Installation of 11kV Energy Metering Box/Enclosure. | opt | 3 | Nos. | 2.158 | 6.4741 |  | 0
15 | Supply & Installation of11KV Energy meter ( with One Check Meter & One Main Meter ). | opt | 3 | Nos. | 4.847 | 14.541 |  | 0
16 | Control cables from RMUs ( CT/VT ) to 3 nos 11kV meters. | opt | 1 | LS | 4.3648 | 4.3648 |  | 0
17 | Calibration, testing, commissioning & MEDC approval for 3nos 11kV meters (check meter and revenue meter)- | req | 1 | LS | 7.4339 | 7.4339 |  | 0
[5 empty] | Total | 475.7629 | Total | 8.938